## Slide 1: Polarization science with carma: using the 1mm dual-polarization receiver system to probe small-scale magnetic fields in protostellar cores
Chat Hull
University of California, Berkeley
Radio Astronomy Laboratory
22 November 2013
Rochester Institute of Technology
AST colloquium
Rochester, N.Y.
Notes: Star formation regions

## Slide 2: Outline
Magnetized star formation
CARMA 1mm full-Stokes polarization system
B-fields vs. outflows: multi-scale comparisons
  Outflows/jets/disks and B-fields are randomly aligned (or perhaps ⟂?)
  TADPOL survey
B-fields: multi-scale comparisons
  Cloud  core  envelope  disk
  Two populations of cores: high and low polarization fraction
    Back to outflows!

## Slide 3: Scales of star formation
> 1 pc
0.1 pc
1000 AU
< 100 AU
cloud
core
envelope
disk

## Slide 4: Outline
Magnetized star formation
CARMA 1mm full-Stokes polarization system
B-fields vs. outflows: multi-scale comparisons
  Outflows/jets/disks and B-fields are randomly aligned (or perhaps ⟂?)
  TADPOL survey
B-fields: multi-scale comparisons
  Cloud  core  envelope  disk
  Two populations of cores: high and low polarization fraction
    Back to outflows!

## Slide 5
Pereyra & Magalhães 2004
Large-scale: ordered fields
10 pc
E,B
Musca dark cloud
Notes: -Distance: 250 pc
-Mass: 250 solar masses
-Length ~10 pc

## Slide 6: Dust grain alignment
ALIGNED DUST GRAINS
ORDERED MAGNETIC FIELD
Notes: -Extremely high percentage polarization, thus…
-High-SNR correlation between LCP and RCP.
-Band dependent due to hardware
-Antenna dependent
-Forward gains of antennas: 100 Jy/K (10m), 150 Jy/K (6m)
-Sky temperature calculation: atmosphere temp*(1 – \e^{-\tau}), or (280 K)*(1 – e^(-0.2)) = ~50 K for typical weather

## Slide 7: Polarization (dust absorption)
ALIGNED DUST GRAINS
BACKGROUND STAR
(unpolarized)
ORDERED MAGNETIC FIELD
Notes: -Extremely high percentage polarization, thus…
-High-SNR correlation between LCP and RCP.
-Band dependent due to hardware
-Antenna dependent
-Forward gains of antennas: 100 Jy/K (10m), 150 Jy/K (6m)
-Sky temperature calculation: atmosphere temp*(1 – \e^{-\tau}), or (280 K)*(1 – e^(-0.2)) = ~50 K for typical weather

## Slide 8: Polarization (dust emission)
ALIGNED DUST GRAINS
ORDERED MAGNETIC FIELD
Notes: -Extremely high percentage polarization, thus…
-High-SNR correlation between LCP and RCP.
-Band dependent due to hardware
-Antenna dependent
-Forward gains of antennas: 100 Jy/K (10m), 150 Jy/K (6m)
-Sky temperature calculation: atmosphere temp*(1 – \e^{-\tau}), or (280 K)*(1 – e^(-0.2)) = ~50 K for typical weather

## Slide 9: What is the role of magnetic fields in star formation?
Fundamental?
Incidental?

## Slide 10
Credit: Bill Saxton, NRAO/AUI
KALYPSO project, Harvard/CfA

## Slide 11
Girart+ 2006
Rao+ 2009
Outflow
B-field
IRAS 16293
NGC 1333-IRAS 4A
Misalignment of B-fields and outflows
Notes: ROTATION: IRAS 16293 has rot/grav < 0.1; IRAS4A seems the same (barely any rotation); VLA 1623 questionable (probably slow)
-Holland: JCMT data
-Rao, Girart: SMA
-This is okay, according to Hennebelle & Ciardi ‘09 (easier to form disks with obliquity!)
-Ward-Thompson et al (2009) saw a 30 deg offset between short axes of cores and their polarization directions…another problem!

## Slide 12: CARMA Combined Array for Research in Millimeter-wave Astronomy Consortium: Berkeley, Caltech, Illinois, Maryland, Chicago
  6 ⨯10-m, 9 ⨯ 6-m, and 8 ⨯ 3.5-m telescopes
  Observations at 1 cm, 3 mm, and
  1 mm (polarization!)
  Located in Cedar Flat, CA (near Bishop)
Notes: SMA: 8*6m antennas = 226 m^2
CARMA: 6*10m, 9*6m = 726 m^2 (more than factor of 3 more area)
-Factor of two more dishes
-Equivalent T_sys?

## Slide 13: Outline
Magnetized star formation
CARMA 1mm full-Stokes polarization system
B-fields vs. outflows: multi-scale comparisons
  Outflows/jets/disks and B-fields are randomly aligned (or perhaps ⟂?)
  TADPOL survey
B-fields: multi-scale comparisons
  Cloud  core  envelope  disk
  Two populations of cores: high and low polarization fraction
    Back to outflows!

## Slide 14: 1 mm dual-polarization receivers
Orthomode transducer
SIS mixers
WBA13
I.F. amplifiers (1-9 GHz)
1 inch
Credit: Dick Plambeck
Waveguide circular polarizer
Notes: -Sensitive to RCP & LCP
-Null experiment: in the absence of linear polarization, you get no RL correlation at any time.
-If you have linear feeds, you have XY correlation sometimes (when the intrinsic polarization is at 45º to your two feeds), and not other times (when it’s along one feed or the other). Thus, to tease out the polarization, you need stable gains

## Slide 15: 1 mm dual-polarization receivers
1 inch
Waveguide circular polarizer
Credit: Dick Plambeck
Notes: -Sensitive to RCP & LCP
-Null experiment: in the absence of linear polarization, you get no RL correlation at any time.
-If you have linear feeds, you have XY correlation sometimes (when the intrinsic polarization is at 45º to your two feeds), and not other times (when it’s along one feed or the other). Thus, to tease out the polarization, you need stable gains

## Slide 16: 2-section polarizer
λ/2 retarder
at 15°
λ/4 retarder
at 74.5°
Plambeck & Engargiola, CARMA Memo #54
Notes: -Chose waveguide design because it can be integrated into the receiver (in the cold part), and thus doesn’t create loss the way a room-temperature quarter-wave plate does.

## Slide 17: Simplest retarder: faceted circular waveguide

## Slide 18: Leakages for 1-, 2-, & 3-section polarizers
Leakage D:
10%
0%
Leakage D
Frequency (GHz)
210
270

## Slide 19: Leakages computed with random machining errors (±0.0003’’, ±0.2°)
2 sections
3 sections
10%
0%
Leakage D
Frequency (GHz)
210
270
210
270

## Slide 20: R L   
Receiver
Sky
Credit: Greg Engargiola
Polarizer simulation
LCP
RCP
X
Y
 Feed horn (sky)
OMT 
X
Y
Plambeck & Engargiola, CARMA Memo #54
Notes: These are effectively quarter-wave plates.

## Slide 21: Polarizer construction
Aluminum
mandrel
Copper electroplated onto mandrel
Machined
Soldered into waveguide flange
1 inch

## Slide 22: Sample polarizer test data (mandrel machining errors)
% of radiation converted from linear  RCP & LCP
210
270
Frequency (GHz)

## Slide 23: 1 mm dual-polarization receivers
1 inch
Orthomode transducer
Credit: Dick Plambeck
Notes: -Sensitive to RCP & LCP
-Null experiment: in the absence of linear polarization, you get no RL correlation at any time.
-If you have linear feeds, you have XY correlation sometimes (when the intrinsic polarization is at 45º to your two feeds), and not other times (when it’s along one feed or the other). Thus, to tease out the polarization, you need stable gains

## Slide 24: Turnstile-junction OMT
Navarrini & Plambeck 2006, IEEE-MTT, 54, 272-277
1 cm
Notes: The OMT is based on a turnstile junction and 2 power combiners - this design was worked out by Alessandro Navarrini when he was a postdoc in Berkeley.
It looks pretty intimidating to make, but it’s not as bad as it looks . The waveguides are all split down the middle, so what you have do do is to machine 4 blocks of metal and bolt them together.

## Slide 25: OMT construction
Notes: Here’s an assembly diagram.
Now, as you know, it’s not so hard to get great results out of an electromagnetic simulation of a device like this, but can you actually machine it reproducibly?

## Slide 26
Testing OMTs using 300 GHz network analyzer at Agilent

## Slide 27: Some OMTs have resonances…

## Slide 28: Unequal sidearm lengths in OMT can cause resonances (simulation)

## Slide 29: OMT tests at 4K (passbands, LO = 210-255 GHz in 1 GHz steps)
OMT10 (bad)
OMT15 (good)

## Slide 30: 1 mm dual-polarization receivers
1 inch
Credit: Dick Plambeck
SIS mixers
Notes: -Sensitive to RCP & LCP
-Null experiment: in the absence of linear polarization, you get no RL correlation at any time.
-If you have linear feeds, you have XY correlation sometimes (when the intrinsic polarization is at 45º to your two feeds), and not other times (when it’s along one feed or the other). Thus, to tease out the polarization, you need stable gains

## Slide 31
SIS mixers are ALMA band 6 devices
(fabricated by Arthur Lichtenberger, UVa)
I.F.
1 mm

## Slide 32
Microstrip to SMA connector
SIS device
Input waveguide
Inside the mixer block
1 mm

## Slide 33: Polarization calibration
Two main steps to calibrate a polarimeter:
  XY phase
    The absolute phase offset between the RCP and LCP receivers of an antenna
  Leakage terms
    The fraction of LCP radiation detected in the RCP receiver, and vice versa

## Slide 34: XY phase calibration
How do we find an antenna’s XY phase?
  Observe a strongly polarized source with known position angle
    These don’t exist at mm wavelengths
    We create our own by observing broadband noise from the ambient load through a wire-grid polarizer!

## Slide 35: XY phase calibration
AMBIENT LOAD
(300 K)
SKY (~60 K)
FEED HORN
WIRE-GRID POLARIZER
Notes: -Extremely high percentage polarization, thus…
-High-SNR correlation between LCP and RCP.
-Band dependent due to hardware
-Antenna dependent
-Forward gains of antennas: 100 Jy/K (10m), 150 Jy/K (6m)
-Sky temperature calculation: atmosphere temp*(1 – \e^{-\tau}), or (280 K)*(1 – e^(-0.2)) = ~50 K for typical weather

## Slide 36: Outline
Magnetized star formation
CARMA 1mm full-Stokes polarization system
B-fields vs. outflows: multi-scale comparisons
  Outflows/jets/disks and B-fields are randomly aligned (or perhaps ⟂?)
  TADPOL survey
B-fields: multi-scale comparisons
  Cloud  core  envelope  disk
  Two populations of cores: high and low polarization fraction
    Back to outflows!

## Slide 37
Girart+ 2006
Rao+ 2009
Outflow
B-field
IRAS 16293
NGC 1333-IRAS 4A
Misalignment of B-fields and outflows
Notes: ROTATION: IRAS 16293 has rot/grav < 0.1; IRAS4A seems the same (barely any rotation); VLA 1623 questionable (probably slow)
-Holland: JCMT data
-Rao, Girart: SMA
-This is okay, according to Hennebelle & Ciardi ‘09 (easier to form disks with obliquity!)
-Ward-Thompson et al (2009) saw a 30 deg offset between short axes of cores and their polarization directions…another problem!

## Slide 38: TADPOL survey

## Slide 39: TADPOL collaboration
UC Berkeley
  Chat Hull (PI), Dick Plambeck, Mel Wright, Carl Heiles, Geoff Bower
University of Maryland
  Marc Pound, Alberto Bolatto, Katherine Jameson,
  Lee Mundy
Caltech
  Thushara Pillai, John Carpenter, James Lamb,
  Nikolaus Volgenau
University of Illinois, Urbana-Champagne
  Leslie Looney, Dick Crutcher, Nick Hakobian
Other
  Dan Marrone (Arizona), Meredith Hughes (Wesleyan), John Vaillancourt & Göran Sandell (USRA-SOFIA), John Tobin (NRAO), Ian Stephens (BU), Jason Fiege & Erica Franzmann (Manitoba), Martin Houde (UWO, Caltech), Brenda Matthews (NRC-CNRC), Woojin Kwon (SRON)

## Slide 40: TADPOL survey
37 sources
  Largest survey of star-forming cores to date
>500 observing hours
CARMA C, D, & E arrays
1 – 4" resolution
10⨉ higher resolution than CSO & JCMT
Probes intermediate region between ~0.1 pc (single-dish)
and ~100 AU (ALMA)

## Slide 41: TADPOL results
L1157
See also: Stephens+ 2013, ApJL, 769, L15
2″
Notes: NEARBY SF regions:
-Perseus (NGC 1333, L1448, SVS13): 235 pc (masers in SVS13)  03:30 LST
-Taurus (DG Tau, L1527): 140 pc  04:30 LST
-Orion: 400 pc  05:30 LST
-Serpens: 415 pc  18:30 LST
-Ophiuchus: 140 pc  17:00 LST
-Cepheus (L1157): 250 pc  22:00 LST
-Isolated (B335, Bok globule): 250 pc

## Slide 42
Credit: Bill Saxton, NRAO/AUI
KALYPSO project, Harvard/CfA

## Slide 43
TADPOL results
NGC 1333-IRAS 4A
NGC 1333-IRAS 4B, 4B2
2″
2″
NGC 1333-IRAS 2A
3″
Notes: NEARBY SF regions:
-Perseus (NGC 1333, L1448, SVS13): 235 pc (masers in SVS13)  03:30 LST
-Taurus (DG Tau, L1527): 140 pc  04:30 LST
-Orion: 400 pc  05:30 LST
-Serpens: 415 pc  18:30 LST
-Ophiuchus: 140 pc  17:00 LST
-Cepheus (L1157): 250 pc  22:00 LST
-Isolated (B335, Bok globule): 250 pc

## Slide 44
TADPOL results
L1527
2″
VLA 1623
3″
See also: Tobin+ 2012, Nature, 493, 83
See also: Murillo+ 2013 (arxiv:1310.8481)
Notes: NEARBY SF regions:
-Perseus (NGC 1333, L1448, SVS13): 235 pc (masers in SVS13)  03:30 LST
-Taurus (DG Tau, L1527): 140 pc  04:30 LST
-Orion: 400 pc  05:30 LST
-Serpens: 415 pc  18:30 LST
-Ophiuchus: 140 pc  17:00 LST
-Cepheus (L1157): 250 pc  22:00 LST
-Isolated (B335, Bok globule): 250 pc

## Slide 45: TADPOL results
Ser-emb 8, 8(N)
3″
Notes: NEARBY SF regions:
-Perseus (NGC 1333, L1448, SVS13): 235 pc (masers in SVS13)  03:30 LST
-Taurus (DG Tau, L1527): 140 pc  04:30 LST
-Orion: 400 pc  05:30 LST
-Serpens: 415 pc  18:30 LST
-Ophiuchus: 140 pc  17:00 LST
-Cepheus (L1157): 250 pc  22:00 LST
-Isolated (B335, Bok globule): 250 pc

## Slide 46: Outflow vs. B-field: distribution
CDF
Simulation: outflows & B-fields aligned within a 20º cone (tightly aligned)
Simulation: outflows & B-fields are randomly oriented
KS-test results:
20º cone ruled out ( p-value ~ 10-15 )
Misaligned ( 0.33 ) and random ( 0.33 ) cannot be ruled out
Simulation: outflows & B-fields aligned between 70–90º (preferentially misaligned)
Hull+ 2013a, ApJ, 768, 159
(plot updated Aug ‘13)
𝜽outflow – 𝜽B-field (deg)
0
1
0º
90º
0 – 20º
Random
70 – 90º

## Slide 47: Outline
Magnetized star formation
CARMA 1mm full-Stokes polarization system
B-fields vs. outflows: multi-scale comparisons
  Outflows/jets/disks and B-fields are randomly aligned (or perhaps ⟂?)
  TADPOL survey
B-fields: multi-scale comparisons
  Cloud  core  envelope  disk
  Two populations of cores: high and low polarization fraction
    Back to outflows!

## Slide 48: Multi-scale comparisons: B-fields
> 1 pc
0.1 pc
1000 AU
100 AU
CONSISTENT
Hua-bai Li+ 2009

## Slide 49: 100 pc  0.1 pc Consistent B-field in clouds & cores
H.-b. Li+ 2009
Optical data
n ~ 1 cm-3
L ~ 100 pc
~0.3 pc
Sub-mm CSO data
n ~ 105 cm-3
L ~ 0.3 pc
E
B
E,B
Notes: Orion Molecular Cloud region
-Optical polarimetry data: blue vectors
-Huge grey vectors: average of all blue vectors
-IRAS data: just to guide the eye (background image)
-CSO data: dust emission
-White vectors: average of CSO dust polarization
-ALL orientations are B-field directions
-Comparing with simulations, they find that a super-Alfvénic cloud (more turbulence than magnetic support) doesn’t fit well

## Slide 50: 100 pc  0.1 pc : Consistent B-fields
Ambient 𝜽B-field (deg) (deg)
Core 𝜽B-field (deg)
Li+ 2009
0º
-90º
90º
0º
180º
90º
H.-b. Li+ 2009
Notes: Orion Molecular Cloud region
-Optical polarimetry data: blue vectors
-Huge grey vectors: average of all blue vectors
-IRAS data: just to guide the eye (background image)
-CSO data: dust emission
-White vectors: average of CSO dust polarization
-ALL orientations are B-field directions
-Comparing with simulations, they find that a super-Alfvénic cloud (more turbulence than magnetic support) doesn’t fit well

## Slide 51: Multi-scale comparisons: B-fields
> 1 pc
0.1 pc
1000 AU
100 AU
CONSISTENT
Hua-bai Li+ 2009

## Slide 52: Multi-scale comparisons: B-fields
1 pc
0.1 pc
1000 AU
100 AU
(Not always) consistent
Hull+ 2013b
Chapman+ 2013

## Slide 53
Cores with consistent large-to-small B-fields
NGC 1333-IRAS 4A
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 54
NGC 1333-IRAS 4A
Cores with consistent large-to-small B-fields
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 55
L1527
Cores with INconsistent large-to-small B-fields
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 56
L1527
Cores with INconsistent large-to-small B-fields
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 57: Alignment vs. polarization fraction
Polarization %
• Core
⨉ Star-forming region
HI-POL
LO-POL
𝜽small – 𝜽large (deg)
0º
90º
45º
1%
7%
Hull+ 2013b, ApJS, submitted

## Slide 58: Cores: two populations
HI-POL
(P ≈ 3 – 6%)
Bsm ∥Blg
Outflows random w.r.t. Bsm
LO-POL
(P ≲ 3%)
Bsm ∦ Blg
Outflows ⟂ Bsm

## Slide 59: Multi-scale comparisons: B-fields vs. outflows
1 pc
0.1 pc
1000 AU
100 AU
RANDOM
Hull+ 2013a
Back to outflows!

## Slide 60: Multi-scale comparisons: B-fields vs. outflows
1 pc
0.1 pc
1000 AU
100 AU
RANDOM
Or preferentially ⟂ ?
Hull+ 2013a

## Slide 61: Multi-scale comparisons: B-fields vs. outflows
1 pc
0.1 pc
1000 AU
100 AU
Random (HI-POL)
⟂ (LO-POL)

## Slide 62: Cores: B-field vs. outflow alignment
CDF
ALL CORES
(random/misaligned?)
𝜽outflow – 𝜽B-field (deg)
0
1
0º
90º
0 – 20º
0 – 45º
Random
70 – 90º
Notes: hi_pol = [ 'IRAS4A', 'HH211', 'L1157', 'MMS5', 'MMS6', 'CB230', 'SerEmb8', 'SerEmb8N' ]
lo_pol = [ 'CB26', 'CB54', 'IRAS2A', 'IRAS4B2', 'IRAS4B', 'L1448I', 'L1448N', 'L1455', 'L1527', 'L1551', 'VLA1623' ]

## Slide 63: Cores: B-field vs. outflow alignment
CDF
HI-POL
(random)
𝜽outflow – 𝜽B-field (deg)
0
1
0º
90º
0 – 20º
0 – 45º
Random
70 – 90º
Hull+ 2013b, ApJS, submitted

## Slide 64: Cores: B-field vs. outflow alignment
CDF
LO-POL
(misaligned)
𝜽outflow – 𝜽B-field (deg)
0
1
0º
90º
0 – 20º
0 – 45º
Random
70 – 90º
Hull+ 2013b, ApJS, submitted

## Slide 65
HH 211
Ser-emb 8
OMC3-MMS6
IRAS 4A
Outflow
B-field
HI-POL: B-fields random w.r.t. outflows
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 66
LO-POL: B-fields ⟂ outflows
VLA 1623
L1527
IRAS 4B
Outflow
B-field
L1551 NE
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 67: HI-POL vs. LO-POL
HI-POL
  UB > Udyn
    B-fields can resist twisting
    from dynamic effects
  Less line-of-sight twisting = higher polarization fraction
  Consistent large-to-small-scale B-fields
IRAS 4A
Consistent B-fields

## Slide 68: HI-POL vs. LO-POL
HI-POL
  UB > Udyn
    B-fields can resist twisting
    from dynamic effects
  Less line-of-sight twisting = higher polarization fraction
  Consistent large-to-small-scale B-fields
  B-fields still are not correlated with outflows
    Angular momentum direction unaffected by “global field”
IRAS 4A

## Slide 69: HI-POL vs. LO-POL
LO-POL
  UB < Udyn
  More line-of-sight twisting = lower polarization fraction
  Inconsistent large-to-small-scale B-fields
L1527
INConsistent B-fields

## Slide 70: HI-POL vs. LO-POL
LO-POL
  UB < Udyn
    B-fields are twisted by rotation
  More line-of-sight twisting = lower polarization fraction
  Inconsistent large-to-small-scale B-fields
  B-fields are ⟂ to outflows
    No longer looking at global field
L1527

## Slide 71: HI-POL vs. LO-POL: open questions
HI-POL
  Do they have stronger B-fields?
  Is our view just dominated by the global field?
    If so, are the fields actually twisted at smaller scales?
LO-POL
  Do they have weaker B-fields?
  Are the twisted B-fields we see at 1000 AU consistent with B-fields at disk scales?

## Slide 72: FUTURE multi-scale comparison: B-fields
1 pc
0.1 pc
1000 AU
100 AU
CARMA/SMA +
ALMA
?
Machida+ 2006
180 AU

## Slide 73: Summary (1/4)
B-fields are randomly aligned with respect to outflows at the ~1000 AU scale
Thus, circumstellar disks are misaligned with fields in the cores from which they formed
CDF
𝜽outflow – 𝜽B-field (deg)
0º
90º
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 74
  Consistent large- to small-scale B-fields
  Outflows and B-fields are randomly aligned
  Global field doesn’t affect final angular momentum
Summary (2/4)
HI-POL sources
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 75
  INconsistent large- to small-scale B-fields
  Outflows and B-fields are perpendicular
  Fields may be wrapped up by envelope rotation
Summary (3/4)
LO-POL sources
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 76
Questions:
  Why are B-fields and outflows randomly aligned?
  What will disk-scale B-field measurements show?
TADPOL data release: arXiv:1310.6653
TADPOL outflows vs. B-fields: ApJ, 768, 159
TADPOL survey: tadpol.astro.illinois.edu
Summary (4/4)
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 77
Summary
TADPOL data release
arXiv:1310.6653
TADPOL outflows vs. B-fields
ApJ, 768, 159
TADPOL survey
tadpol.astro.illinois.edu
(1) Random outflows vs. B-fields
(2) HI-POL: consistent B-fields, random outflows
(3) LO-POL: B-fields wrapped by rotation
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 78
Fin