## Slide 1: From clouds to cores to envelopes to disks a multi-scale view of magnetized star formation
Chat Hull
University of California, Berkeley
Radio Astronomy Laboratory
18 October 2013
Harvard/CfA RG Lunch Talk
Cambridge, Mass.
Notes: Star formation regions

## Slide 2: Outline
Magnetized star formation
B-fields vs. outflows: multi-scale comparisons
  Outflows/jets/disks and B-fields are randomly aligned (or perhaps ⟂?)
  TADPOL survey
    CARMA 1mm full-Stokes polarization system
B-fields: multi-scale comparisons
  Cloud  core  envelope  disk
  Two populations of cores: high and low polarization fraction
    Back to outflows!
    Disk formation implications
Star-forming regions

## Slide 3: Scales of star formation
> 1 pc
0.1 pc
1000 AU
< 100 AU
cloud
core
envelope
disk

## Slide 4: Outline
Magnetized star formation
B-fields vs. outflows: multi-scale comparisons
  Outflows/jets/disks and B-fields are randomly aligned (or perhaps ⟂?)
  TADPOL survey
    CARMA 1mm full-Stokes polarization system
B-fields: multi-scale comparisons
  Cloud  core  envelope  disk
  Two populations of cores: high and low polarization fraction
    Back to outflows!
    Disk formation implications
Star-forming regions

## Slide 5
Pereyra & Magalhães 2004
Large-scale: ordered fields
10 pc
E,B
Musca dark cloud
Notes: -Distance: 250 pc
-Mass: 250 solar masses
-Length ~10 pc

## Slide 6: What is the role of magnetic fields in star formation?
Fundamental?
Incidental?

## Slide 7
Credit: Bill Saxton, CfA

## Slide 8: Outline
Magnetized star formation
B-fields vs. outflows: multi-scale comparisons
  Outflows/jets/disks and B-fields are randomly aligned (or perhaps ⟂?)
  TADPOL survey
    CARMA 1mm full-Stokes polarization system
B-fields: multi-scale comparisons
  Cloud  core  envelope  disk
  Two populations of cores: high and low polarization fraction
    Back to outflows!
    Disk formation implications
Star-forming regions

## Slide 9: Multi-scale comparisons: B-fields vs. outflows
1 pc
0.1 pc
1000 AU
100 AU
RANDOM
Ménard & Duchêne 2004
Targon+ 2011

## Slide 10
Comparing orientations of large-scale B-field with disks/jets in T Tauri stars
Misalignment of B-fields and disks/jets
𝜽disk/jet – 𝜽B-field (deg)
Cumulative Distribution Function (CDF)
Ménard & Duchêne 2004
10 pc
0
1
0º
90º

## Slide 11
CDF
Targon+ 2011
~1 pc
Misalignment of B-fields and disks/jets
𝜽jet – 𝜽B-field (deg)
0
1
0º
90º

## Slide 12: Multi-scale comparisons: B-fields vs. outflows
1 pc
0.1 pc
1000 AU
100 AU
RANDOM
Ménard & Duchêne 2004
Targon+ 2011

## Slide 13: Multi-scale comparisons: B-fields vs. outflows
1 pc
0.1 pc
1000 AU
100 AU
RANDOM
Curran & Chrysostomou 2007

## Slide 14
Comparing B-fields with outflows on the core (~0.1 pc) scale
Misalignment of B-fields and outflows
Curran & Chrysostomou 2007
CDF
~0.25 pc
B
𝜽outflow – 𝜽B-field (deg)

## Slide 15: Multi-scale comparisons: B-fields vs. outflows
1 pc
0.1 pc
1000 AU
100 AU
RANDOM
Curran & Chrysostomou 2007

## Slide 16: Multi-scale comparisons: B-fields vs. outflows
1 pc
0.1 pc
1000 AU
100 AU
RANDOM
Or preferentially ⟂ ?
Hull+ 2013a

## Slide 17
Girart+ 2006
Rao+ 2009
Outflow
B-field
IRAS 16293
NGC 1333-IRAS 4A
Misalignment of B-fields and outflows
Notes: ROTATION: IRAS 16293 has rot/grav < 0.1; IRAS4A seems the same (barely any rotation); VLA 1623 questionable (probably slow)
-Holland: JCMT data
-Rao, Girart: SMA
-This is okay, according to Hennebelle & Ciardi ‘09 (easier to form disks with obliquity!)
-Ward-Thompson et al (2009) saw a 30 deg offset between short axes of cores and their polarization directions…another problem!

## Slide 18: CARMA Combined Array for Research in Millimeter-wave Astronomy Consortium: Berkeley, Caltech, Illinois, Maryland, Chicago
  6 ⨯10-m, 9 ⨯ 6-m, and 8 ⨯ 3.5-m telescopes
  Observations at 1 cm, 3 mm, and
  1 mm (polarization!)
  Located in Cedar Flat, CA (near Bishop)
Notes: SMA: 8*6m antennas = 226 m^2
CARMA: 6*10m, 9*6m = 726 m^2 (more than factor of 3 more area)
-Factor of two more dishes
-Equivalent T_sys?

## Slide 19: 1 mm dual-polarization receivers
Orthomode transducer
SIS mixers
WBA13
I.F. amplifiers (1-9 GHz)
1 inch
Credit: Dick Plambeck
Waveguide circular polarizer
Notes: -Sensitive to RCP & LCP
-Null experiment: in the absence of linear polarization, you get no RL correlation at any time.
-If you have linear feeds, you have XY correlation sometimes (when the intrinsic polarization is at 45º to your two feeds), and not other times (when it’s along one feed or the other). Thus, to tease out the polarization, you need stable gains

## Slide 20
Girart+ 2006
Rao+ 2009
Outflow
B-field
IRAS 16293
NGC 1333-IRAS 4A
Misalignment of B-fields and outflows
Notes: ROTATION: IRAS 16293 has rot/grav < 0.1; IRAS4A seems the same (barely any rotation); VLA 1623 questionable (probably slow)
-Holland: JCMT data
-Rao, Girart: SMA
-This is okay, according to Hennebelle & Ciardi ‘09 (easier to form disks with obliquity!)
-Ward-Thompson et al (2009) saw a 30 deg offset between short axes of cores and their polarization directions…another problem!

## Slide 21: TADPOL survey

## Slide 22: TADPOL collaboration
UC Berkeley
  Chat Hull (PI), Dick Plambeck, Mel Wright, Carl Heiles, Geoff Bower
University of Maryland
  Marc Pound, Alberto Bolatto, Katherine Jameson,
  Lee Mundy
Caltech
  Thushara Pillai, John Carpenter, James Lamb,
  Nikolaus Volgenau
University of Illinois, Urbana-Champagne
  Leslie Looney, Dick Crutcher, Nick Hakobian
Other
  Dan Marrone (Arizona), Meredith Hughes (Wesleyan), John Vaillancourt & Göran Sandell (USRA-SOFIA), John Tobin (NRAO), Ian Stephens (BU), Jason Fiege & Erica Franzmann (Manitoba), Martin Houde (UWO, Caltech), Brenda Matthews (NRC-CNRC), Woojin Kwon (SRON)

## Slide 23: TADPOL survey
37 sources
  Largest survey of star-forming cores to date
>500 observing hours
CARMA C, D, & E arrays
1 – 4" resolution
10⨉ higher resolution than CSO & JCMT
Probes intermediate region between ~0.1 pc (single-dish)
and ~100 AU (ALMA)

## Slide 24: TADPOL results
L1157
See also: Stephens+ 2013, ApJL, 769, L15
2″
Notes: NEARBY SF regions:
-Perseus (NGC 1333, L1448, SVS13): 235 pc (masers in SVS13)  03:30 LST
-Taurus (DG Tau, L1527): 140 pc  04:30 LST
-Orion: 400 pc  05:30 LST
-Serpens: 415 pc  18:30 LST
-Ophiuchus: 140 pc  17:00 LST
-Cepheus (L1157): 250 pc  22:00 LST
-Isolated (B335, Bok globule): 250 pc

## Slide 25
Credit: Bill Saxton, CfA

## Slide 26
TADPOL results
NGC 1333-IRAS 4A
NGC 1333-IRAS 4B, 4B2
2″
2″
Notes: NEARBY SF regions:
-Perseus (NGC 1333, L1448, SVS13): 235 pc (masers in SVS13)  03:30 LST
-Taurus (DG Tau, L1527): 140 pc  04:30 LST
-Orion: 400 pc  05:30 LST
-Serpens: 415 pc  18:30 LST
-Ophiuchus: 140 pc  17:00 LST
-Cepheus (L1157): 250 pc  22:00 LST
-Isolated (B335, Bok globule): 250 pc

## Slide 27
TADPOL results
L1527
NGC 1333-IRAS 2A
2″
3″
Notes: NEARBY SF regions:
-Perseus (NGC 1333, L1448, SVS13): 235 pc (masers in SVS13)  03:30 LST
-Taurus (DG Tau, L1527): 140 pc  04:30 LST
-Orion: 400 pc  05:30 LST
-Serpens: 415 pc  18:30 LST
-Ophiuchus: 140 pc  17:00 LST
-Cepheus (L1157): 250 pc  22:00 LST
-Isolated (B335, Bok globule): 250 pc

## Slide 28: TADPOL results
Ser-emb 8, 8(N)
3″
Notes: NEARBY SF regions:
-Perseus (NGC 1333, L1448, SVS13): 235 pc (masers in SVS13)  03:30 LST
-Taurus (DG Tau, L1527): 140 pc  04:30 LST
-Orion: 400 pc  05:30 LST
-Serpens: 415 pc  18:30 LST
-Ophiuchus: 140 pc  17:00 LST
-Cepheus (L1157): 250 pc  22:00 LST
-Isolated (B335, Bok globule): 250 pc

## Slide 29: Outflow vs. B-field: distribution
CDF
Simulation: outflows & B-fields aligned within a 20º cone (tightly aligned)
Simulation: outflows & B-fields are randomly oriented
KS-test results:
20º cone ruled out ( p-value ~ 10-15 )
Misaligned ( 0.33 ) and random ( 0.33 ) cannot be ruled out
Simulation: outflows & B-fields aligned between 70–90º (preferentially misaligned)
Hull+ 2013a, ApJ, 768, 159
(plot updated Aug ‘13)
𝜽outflow – 𝜽B-field (deg)
0
1
0º
90º
0 – 20º
Random
70 – 90º

## Slide 30: Outline
Magnetized star formation
B-fields vs. outflows: multi-scale comparisons
  Outflows/jets/disks and B-fields are randomly aligned (or perhaps ⟂?)
  TADPOL survey
    CARMA 1mm full-Stokes polarization system
B-fields: multi-scale comparisons
  Cloud  core  envelope  disk
  Two populations of cores: high and low polarization fraction
    Back to outflows!
    Disk formation implications
Star-forming regions

## Slide 31: Multi-scale comparisons: B-fields
> 1 pc
0.1 pc
1000 AU
100 AU
CONSISTENT
Hua-bai Li+ 2009

## Slide 32: Large  medium scale Consistent B-field in clouds & cores
H.-b. Li+ 2009
Optical data
n ~ 1 cm-3
L ~ 100 pc
~0.3 pc
Sub-mm CSO data
n ~ 105 cm-3
L ~ 0.3 pc
E
B
E,B
Notes: Orion Molecular Cloud region
-Optical polarimetry data: blue vectors
-Huge grey vectors: average of all blue vectors
-IRAS data: just to guide the eye (background image)
-CSO data: dust emission
-White vectors: average of CSO dust polarization
-ALL orientations are B-field directions
-Comparing with simulations, they find that a super-Alfvénic cloud (more turbulence than magnetic support) doesn’t fit well

## Slide 33: Large  medium scale: Consistent B-fields
Ambient 𝜽B-field (deg) (deg)
Core 𝜽B-field (deg)
Li+ 2009
0º
-90º
90º
0º
180º
90º
H.-b. Li+ 2009
Notes: Orion Molecular Cloud region
-Optical polarimetry data: blue vectors
-Huge grey vectors: average of all blue vectors
-IRAS data: just to guide the eye (background image)
-CSO data: dust emission
-White vectors: average of CSO dust polarization
-ALL orientations are B-field directions
-Comparing with simulations, they find that a super-Alfvénic cloud (more turbulence than magnetic support) doesn’t fit well

## Slide 34: Multi-scale comparisons: B-fields
> 1 pc
0.1 pc
1000 AU
100 AU
CONSISTENT
Hua-bai Li+ 2009

## Slide 35: Multi-scale comparisons: B-fields
1 pc
0.1 pc
1000 AU
100 AU
(Not always) consistent
Hull+ 2013b (in prep)
Chapman+ 2013

## Slide 36
Cores with consistent large-to-small B-fields
NGC 1333-IRAS 4A
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 37
NGC 1333-IRAS 4A
Cores with consistent large-to-small B-fields
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 38
Cores with consistent large-to-small B-fields
HH 211
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 39
HH 211
Cores with consistent large-to-small B-fields
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 40
Ser-emb 6
Cores with INconsistent large-to-small B-fields
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 41
Ser-emb 6
See also: Chapman+13
Cores with INconsistent large-to-small B-fields
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 42
L1527
Cores with INconsistent large-to-small B-fields
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 43
L1527
Cores with INconsistent large-to-small B-fields
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 44: Cores: B-field consistency
CDF
Hull+ 2013b (in prep)
ALL CORES
(consistent fields?)
𝜽small – 𝜽large (deg)
0
1
0º
90º
0 – 20º
0 – 45º
Random

## Slide 45: Alignment vs. polarization fraction
Polarization %
Hull+ 2013b (in prep)
• Core
⨉ Star-forming region
HI-POL
LO-POL
𝜽small – 𝜽large (deg)
0º
90º
45º
1%
7%

## Slide 46: Cores: two populations
HI-POL
(P ≈ 3 – 6%)
LO-POL
(P ≲ 3%)

## Slide 47: Polarization “hole” effect
L1157
0%
10%
Polarization %
LOW %
HIGH %

## Slide 48: Cores: two populations
HI-POL
(P ≈ 3 – 6%)
Bsm ∥Blg
Outflows random w.r.t. Bsm
LO-POL
(P ≲ 3%)
Bsm ∦ Blg
Outflows ⟂ Bsm

## Slide 49: Multi-scale comparisons: B-fields vs. outflows
1 pc
0.1 pc
1000 AU
100 AU
RANDOM
Hull+ 2013a
Back to outflows!

## Slide 50: Multi-scale comparisons: B-fields vs. outflows
1 pc
0.1 pc
1000 AU
100 AU
RANDOM
Or preferentially ⟂ ?
Hull+ 2013a

## Slide 51: Multi-scale comparisons: B-fields vs. outflows
1 pc
0.1 pc
1000 AU
100 AU
Random (HI-POL)
⟂ (LO-POL)

## Slide 52: Cores: B-field vs. outflow alignment
CDF
Hull+ 2013b (in prep)
ALL CORES
(random/misaligned?)
𝜽outflow – 𝜽B-field (deg)
0
1
0º
90º
0 – 20º
0 – 45º
Random
70 – 90º
Notes: hi_pol = [ 'IRAS4A', 'HH211', 'L1157', 'MMS5', 'MMS6', 'CB230', 'SerEmb8', 'SerEmb8N' ]
lo_pol = [ 'CB26', 'CB54', 'IRAS2A', 'IRAS4B2', 'IRAS4B', 'L1448I', 'L1448N', 'L1455', 'L1527', 'L1551', 'VLA1623' ]

## Slide 53: Cores: B-field vs. outflow alignment
CDF
Hull+ 2013b (in prep)
HI-POL
(random)
𝜽outflow – 𝜽B-field (deg)
0
1
0º
90º
0 – 20º
0 – 45º
Random
70 – 90º

## Slide 54: Cores: B-field vs. outflow alignment
CDF
Hull+ 2013b (in prep)
LO-POL
(misaligned)
𝜽outflow – 𝜽B-field (deg)
0
1
0º
90º
0 – 20º
0 – 45º
Random
70 – 90º

## Slide 55
HH 211
Ser-emb 8
OMC3-MMS6
IRAS 4A
Outflow
B-field
HI-POL: B-fields random w.r.t. outflows
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 56
LO-POL: B-fields ⟂ outflows
VLA 1623
L1527
IRAS 4B
Outflow
B-field
L1551 NE
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 57: HI-POL vs. LO-POL
HI-POL
  UB > Udyn
    B-fields can resist twisting
    from dynamic effects
  Less line-of-sight twisting = higher polarization fraction
  Consistent large-to-small-scale B-fields
IRAS 4A
Consistent B-fields

## Slide 58: HI-POL vs. LO-POL
HI-POL
  UB > Udyn
    B-fields can resist twisting
    from dynamic effects
  Less line-of-sight twisting = higher polarization fraction
  Consistent large-to-small-scale B-fields
  B-fields still are not correlated with outflows
    Angular momentum direction unaffected by “global field”
IRAS 4A

## Slide 59: HI-POL vs. LO-POL
LO-POL
  UB < Udyn
    B-fields are twisted by rotation
  More line-of-sight twisting = lower polarization fraction
  Inconsistent large-to-small-scale B-fields
L1527
INConsistent B-fields

## Slide 60: HI-POL vs. LO-POL
LO-POL
  UB < Udyn
    B-fields are twisted by rotation
  More line-of-sight twisting = lower polarization fraction
  Inconsistent large-to-small-scale B-fields
  B-fields are ⟂ to outflows
    No longer looking at global field
    This could aid in disk formation
L1527

## Slide 61: Magnetic braking catastrophe
Z.-Y. Li+2011
Not rotationally supported!

## Slide 62: Magnetic braking catastrophe
Joos+2012
ALIGNED B-field & rotation
MORE magnetic braking
MISALIGNED B-field & rotation
LESS magnetic braking

## Slide 63
LO-POL: B-fields ⟂ outflows
VLA 1623
L1527
IRAS 4B
Outflow
B-field
L1551 NE
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 64: HI-POL vs. LO-POL: open questions
HI-POL
  Are they younger?
  Or have stronger B-fields?
  Is our view is just dominated by the global field?
    If so, are the fields actually twisted at smaller scales?
LO-POL
  Are they older?
  Or have weaker B-fields?
  Are the twisted B-fields we see at 1000 AU consistent with B-fields at disk scales?

## Slide 65: FUTURE multi-scale comparison: B-fields
1 pc
0.1 pc
1000 AU
100 AU
CARMA/SMA +
ALMA
?
Machida+ 2006
180 AU

## Slide 66: Outline
Magnetized star formation
B-fields vs. outflows: multi-scale comparisons
  Outflows/jets/disks and B-fields are randomly aligned (or perhaps ⟂?)
  TADPOL survey
    CARMA 1mm full-Stokes polarization system
B-fields: multi-scale comparisons
  Cloud  core  envelope  disk
  Two populations of cores: high and low polarization fraction
    Back to outflows!
    Disk formation implications
Star-forming regions

## Slide 67: Alignment vs. polarization fraction
Polarization %
Hull+ 2013b (in prep)
• Core
⨉ Star-forming region
𝜽small – 𝜽large (deg)
0º
90º
45º
1%
7%
SFRs

## Slide 68
Star-forming regions
DR21(OH)
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 69
DR21(OH)
Star-forming regions
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 70
NGC 7538
Star-forming regions
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 71
NGC 7538 IRS 1
Star-forming regions
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 72
W3(OH)
Star-forming regions
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 73
W3(OH)
Star-forming regions
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 74
W3 Main
Star-forming regions
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 75
W3 Main
Star-forming regions
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 76: Summary
B-fields are either preferentially misaligned (perp.) or randomly aligned with respect to outflows at the ~1000 AU scale
  Thus, circumstellar disks are misaligned with fields in the cores from which they formed
High-pol sources: consistent large- to small-scale B-fields
  Yet, outflows and B-fields are randomly misaligned
    Global field doesn’t affect final angular momentum
Low-pol sources: inconsistent large- to small-scale B-fields
  Outflows and B-fields are perpendicular
    Could aid in disk formation
Questions:
  Why are B-fields and outflows randomly aligned?
  What will disk-scale B-field measurements show?
TADPOL outflows vs. B-fields: ApJ, 768, 159
TADPOL survey (CARMA key project): tadpol.astro.illinois.edu
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 77
Fin

## Slide 78
EXTRA SLIDES

## Slide 79
Cores with consistent large-to-small B-fields
OMC3-MMS6
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 80
TADPOL results – high mass
OMC3-MMS6
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 81
OMC3-MMS5/6
Cores with consistent large-to-small B-fields
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 82
Orion KL
Star-forming regions
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 83
Orion KL
Star-forming regions
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 84
TADPOL results – high mass
OMC2-FIR4
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 85
TADPOL results – high mass
OMC2-FIR4
Notes: Other TADPOL future possibilities:
  Intrinsic modeling of B-fields in cores (Fiege)
  Constraints on B-fields in protoplanetary disks (Hughes)
  Turbulence power spectra (Houde)
  Larger scale background-star maps (Mimir, Jameson/Pillai/Clemens)

## Slide 86: Upper limits on circumstellar disk polarization
CARMA + SMA results
Disks are not strongly polarized at ~100 AU scales:
Hughes, Hull, Wilner, & Plambeck 2013, AJ, 145, 115
Notes: Tamura+99 – JCMT results
-Other sources: GM Aur, MWC 480

## Slide 87: Implications for disk formation
Weak & misaligned B-fields in cores could aid disk formation
Addresses “magnetic braking catastrophe”
Points are from simulations in Joos+ 2012
We find that ~10–50% of Class 0/I stars should form Keplerian disks
Krumholz, Crutcher, & Hull 2013, ApJL, 767, L11
Flux-to-mass ratio
cos( 𝛉 between B-field & disk axis )

## Slide 88: Implications: disk formation
Joos, Hennebelle+Ciardi, Krumholz, Crutcher, & Hull
Magnetic braking catastrophe, & possible solution
B-fields may not be as dynamically important as we thought on small scales…but they’re still ordered, so something must be going on
L1527, Ser-emb 8: perp on SCUBA vs. CARMA scales…twisted at small scales in disk?
ALMA!

## Slide 89: Other projects
Filamentary B-field structure in Serpens
  Observing same field as ALMA (Mundy et al.)

## Slide 90: Serpens CARMA+ALMA project
Grayscale: N2H+ from CLASSy

## Slide 91: Serpens CARMA+ALMA project
Grayscale: N2H+ from CLASSy

## Slide 92: Serpens CARMA+ALMA project

## Slide 93
Machida+ 2006
Achieving (mis)alignment: simulations
Faster core rotation  
Stronger B-field  
Notes: McKEE SAYS: initial misalignments could be from turbulence; his simulations drive turb at scales of ~0.5 pc
-He seems misalignment with angmom and ambient B-field
-INTERPLAY BETWEEN U_rot, U_grav, and U_B!
-y-axis: rot. rate / free-fall time
-x-axis: sqrt [ B-pressure / thermal pressure ]
-These started with 45º obliquity
-When magnetically dominated, core B-field and outflow line up
-When rotationally dominated, B-field can end up perp to outflow!
-Most cores tend to fall in the ~0.02 U_rot/U_grav area (Goodman et al. ‘93), but there are cores with a ratio of up to 1…

## Slide 94
Machida+ 2006
Edge-on
Pole-on
2 pc
1 pc
0.0007 pc
(160 AU)
0.00001 pc
(20 AU)
Outflow vs. B-field direction (simulations)
CSO / JCMT
ALMA
At d = 500 pc, the D-array synthesized beam (at 1 mm) spans 2", or 0.005 pc (1000 AU)
CARMA 
Notes: -THINGS AREN’T ALWAYS WHAT THEY SEEM: we always want to probe deeper!
-Things look aligned on larger scales, but they’re really not, on the smallest scales…
-ON WHAT SCALE DO THEY BECOME MISALIGNED?!
-Single-dish can see the larger scales
-ALMA can see the madd-tiny scales
-CARMA is relevant for probing the middle scales!!! (CARMA can also see madd-tiny scales, but we don’t have the sensitivity in full-Stokes mode)
-Simulations: 45º orientation, alpha of 0.01, omega of 0.5 (low field, high rotation)
-Rotationally dominant (simulation with high rotation and medium B-field parameters)– field gets wrapped up
-We can still only see on the 0.01 pc scale with CARMA
-In A-array, could see 100 AU, but have 100x less synth. beam area, and unless there’s a highly polarized point source (say, a 100 AU disk), we wouldn’t see anything

## Slide 95
Achieving (mis)alignment
Notes on rotation/B-field misalignment:
  Weak B-field and strong rotation could cause misalignment
  (Machida+06)
  Turbulence may cause initial misalignment at
  scales of ~0.1 pc (McKee)
  Misalignment may be necessary for disk formation
  (Joos+ ‘12, Li+ ’11, Hennebelle & Ciardi ’09)
?
Notes: McKEE SAYS: initial misalignments could be from turbulence; his simulations drive turb at scales of ~0.5 pc
-He seems misalignment with angmom and ambient B-field
-INTERPLAY BETWEEN U_rot, U_grav, and U_B!
-y-axis: rot. rate / free-fall time
-x-axis: sqrt [ B-pressure / thermal pressure ]
-These started with 45º obliquity
-When magnetically dominated, core B-field and outflow line up
-When rotationally dominated, B-field can end up perp to outflow!
-Most cores tend to fall in the ~0.02 U_rot/U_grav area (Goodman et al. ‘93), but there are cores with a ratio of up to 1…

## Slide 96: How do we get misalignment?
Grain alignment (Gold alignment, anomalous grain orientation)
Outflow feedback (should be bimodal)
Rotation (should be bimodal)
Extreme hourglass (should be bimodal)

## Slide 97
Galli & Shu 1993a
Star formation…with B-fields

## Slide 98: Star Formation
0.5 pc
Credit:
Optical: NASA, ESA, STScI, J. Hester and P. Scowen (Arizona State University)
NIR: ESO/M. McCaughrean & M. Anderson (AIP)
MIR: ESA/Herschel/PACS/SPIRE/Hill, Motte, HOBYS Key Programme Consortium
Notes: Eagle Nebula (M16)
-There’s actually HIGH-mass SF going on (glowing, evaporating)
-We, however are going to journey inside to look at low-mass forming stars: Class 0s, in particular (rising SED between 2 & 8 microns)

## Slide 99: Star formation…with B-fields
Davidson+ 2011
Dense core
104 AU
(~0.1 pc)
Keplerian disk
100 AU
“Pseudodisk”
1,000 AU
Notes: -Collapsing envelope
-Magnetically supported, collapsing “pseudodisk”
-Keplerian (rotationally supported…?) disk in the middle, aligned with rotation & outflow
-Ang mom can be thrown out by torsional Alfven waves in the outflow…that’s sort of the same thing as spreading angular momentum outward by magnetic braking

## Slide 100
HARDWARE SLIDES

## Slide 101: 1 mm dual-polarization receivers
Orthomode transducer
SIS mixers
WBA13
I.F. amplifiers (1-9 GHz)
1 inch
Credit: Dick Plambeck
Waveguide circular polarizer
Notes: -Sensitive to RCP & LCP
-Null experiment: in the absence of linear polarization, you get no RL correlation at any time.
-If you have linear feeds, you have XY correlation sometimes (when the intrinsic polarization is at 45º to your two feeds), and not other times (when it’s along one feed or the other). Thus, to tease out the polarization, you need stable gains

## Slide 102: 1 mm dual-polarization receivers
1 inch
Waveguide circular polarizer
Credit: Dick Plambeck
Notes: -Sensitive to RCP & LCP
-Null experiment: in the absence of linear polarization, you get no RL correlation at any time.
-If you have linear feeds, you have XY correlation sometimes (when the intrinsic polarization is at 45º to your two feeds), and not other times (when it’s along one feed or the other). Thus, to tease out the polarization, you need stable gains

## Slide 103: Turnstile-junction OMT
Navarrini & Plambeck 2006, IEEE-MTT, 54, 272-277
1 cm
Notes: The OMT is based on a turnstile junction and 2 power combiners - this design was worked out by Alessandro Navarrini when he was a postdoc in Berkeley.
It looks pretty intimidating to make, but it’s not as bad as it looks . The waveguides are all split down the middle, so what you have do do is to machine 4 blocks of metal and bolt them together.

## Slide 104: OMT construction
Notes: Here’s an assembly diagram.
Now, as you know, it’s not so hard to get great results out of an electromagnetic simulation of a device like this, but can you actually machine it reproducibly?

## Slide 105
Testing OMTs using 300 GHz network analyzer at Agilent

## Slide 106: Some OMTs have resonances…

## Slide 107: Unequal sidearm lengths in OMT can cause resonances (simulation)

## Slide 108: OMT tests at 4K (passbands, LO = 210-255 GHz in 1 GHz steps)
OMT10 (bad)
OMT15 (good)

## Slide 109: 2-section polarizer
λ/2 retarder
at 15°
λ/4 retarder
at 74.5°
Plambeck & Engargiola, CARMA Memo #54
Notes: -Chose waveguide design because it can be integrated into the receiver (in the cold part), and thus doesn’t create loss the way a room-temperature quarter-wave plate does.

## Slide 110: R L   
Receiver
Sky
Credit: Greg Engargiola
Polarizer simulation
LCP
RCP
X
Y
 Feed horn (sky)
OMT 
X
Y
Plambeck & Engargiola, CARMA Memo #54
Notes: These are effectively quarter-wave plates.

## Slide 111: Polarizer construction
Aluminum
mandrel
Copper electroplated onto mandrel
Machined
Soldered into waveguide flange
1 inch

## Slide 112: Sample polarizer test data (mandrel machining errors)
Fraction of linear radiation converted to RCP and LCP

## Slide 113: Polarization calibration
Two main steps to calibrate a polarimeter:
  XY phase
    The absolute phase offset between the RCP and LCP receivers of an antenna
  Leakage terms
    The fraction of LCP radiation detected in the RCP receiver, and vice versa

## Slide 114: XY phase calibration
How do we find an antenna’s XY phase?
  Observe a strongly polarized source with known position angle
    These don’t exist at mm wavelengths
    We create our own by observing broadband noise from the ambient load through a wire-grid polarizer!

## Slide 115: Stokes parameters, for circular polarization
Notes: RR &= I + V \\
LL &= I - V \\
RL &= Q + iU \\
LR &= Q – iU
I &= RR + LL \\
Q &= RL + LR \\
iU &= RL - LR \\
V &= RR - LL

## Slide 116: Polarization % and position angle uncertainties
NOTE:
The position angle is measured counterclockwise from North
A 3-sigma Q,U detection gives you an uncertainty of ~10º
pdb is the debiased polarization (see Vaillancourt 2006)
Notes: 3-sigma hypot(Q,U)/rms_QU  10º uncertainty
6-sigma, 5º, etc.
p &= \sqrt{Q^2 + U^2} \\
\delta p &= p^{-1} \sqrt{Q^2 \, \delta U^2 + U^2 \, \delta Q^2 } \\
p_{\rm{db}} &= \sqrt{p^2 - \delta p^2} \\
\% &= \frac{p_{\rm{db}} \pm \delta p}{I} \times 100\% \\ \\
\chi &= \frac{1}{2} \arctan\left(\frac{U}{Q}\right) \\
\delta \chi &= \frac{1}{2} \frac{\delta p}{p_{\rm{db}}} \\

## Slide 117: XY phase calibration
AMBIENT LOAD
(300 K)
SKY (~60 K)
FEED HORN
WIRE-GRID POLARIZER
Notes: -Extremely high percentage polarization, thus…
-High-SNR correlation between LCP and RCP.
-Band dependent due to hardware
-Antenna dependent
-Forward gains of antennas: 100 Jy/K (10m), 150 Jy/K (6m)
-Sky temperature calculation: atmosphere temp*(1 – \e^{-\tau}), or (280 K)*(1 – e^(-0.2)) = ~50 K for typical weather

## Slide 118: XY phase fit results
Notes: Tau_2: overall slope across IF. Tau_3_hi,lo: intra-band slopes. Tau_4: jumps and equal-and-opposite slopes in higher and lower chunks.

## Slide 119: 1 mm signal path
Block
downconverters
8-way splitters
RF = 210 – 270 GHz
IF = 1 – 9 GHz
Baseband = 0.5 – 1.0 GHz
Feed horn
Polarizer
OMT
RCP
1 – 9 GHz
5 – 9 GHz
1 – 5 GHz
RF mixer
Baseband mixer
10 GHz mixer
LO 2
1.75 – 4.25 GHz
LCP
0.5 – 1.0 GHz
NOISE
Correlated Noise Source
All phases flat
To digitizer, filter,
& correlator
FILTER
FILTER
FILTER
1 – 5 GHz
τ4
τ3,hi
τ3,lo
τ2
τ1
1 – 9 GHz
5 – 9 GHz
1 – 5 GHz
0.5 – 1.0 GHz
FILTER
FILTER
FILTER
1 – 5 GHz
To digitizer, filter,
& correlator
Notes: We fit these delays to Xyphase data at a variety of IF setups.